## Standardization Table
VMEK Cross-Machine Area Standardization Table — Plastic Kernel Reference
Physical Reference: mean of 6 caliper-measured plastic kernels ¦ Ellipse Area = π/4 × L × W per kernel, mean = 82.2347 mm² ¦ Correction Factor = Ref_Area / Mean_Area_mm² → Area_corrected_mm² = raw_px² × (px→mm)² × Correction Factor
Machine Identity | [6 empty] | Raw Pixel Data |  |  | Converted to mm² |  |  | Bias vs Physical Reference |  |  | Correction
Machine Name | Country | Site / APL | VMEK Model | Camera | px→mm Factor | N (total runs) | Mean Area (px²) | Std Area (px²) | Data Sources | Mean Area (mm²) | Std Area (mm²) | Ref Area (mm²) | Δ from Ref (mm²) | Δ from Ref (%) | Bias Flag | Correction Factor
QL2020283 | USA | Quality Lab283 | MTX–170–36 | Basler acA1300-60gc | 0.332 | 5293 | 797.82 | 139.55 | QL2020283.csv | 87.9394 | 15.3814 | 82.2347 | 5.7047 | 6.94 | — Monitor | 0.93513
QL2019241 | USA | Quality Lab241 | MTX–170–36 | Basler acA1300-60gc | 0.332 | 5204 | 750 | 86.44 | QL2019241.csv | 82.6679 | 9.5275 | 82.2347 | 0.4331 | 0.53 | ✓ Good | 0.99476
APLCLGR02AL23 | Chile | CLGR APL2 | MX3–170–36 | JAI GOX-2402C-PGE | 0.279 | 18330 | 1027.24 | 155.06 | APLs Plastic corn data.xlsx | 79.9611 | 12.0701 | 82.2347 | -2.2737 | -2.76 | ✓ Good | 1.0284
APLMXPV01AL19 | Mexico | MXPV APL1 | MX3–170–36 | JAI GOX-2402C-PGE | 0.279 | 18209 | 920.22 | 142.46 | APLs Plastic corn data.xlsx | 71.6306 | 11.0896 | 82.2347 | -10.6041 | -12.89 | ⚠ Review | 1.148
APLMXPV02AL21 | Mexico | MXPV APL2 | MTX–170–36 | Basler acA1300-60gc | 0.332 | 18204 | 685.55 | 108.92 | APLs Plastic corn data.xlsx | 75.5645 | 12.0054 | 82.2347 | -6.6703 | -8.11 | ⚠ Review | 1.0883
APLMXPV03AL23 | Mexico | MXPV APL3 | MX3–170–36 | JAI GOX-2402C-PGE | 0.279 | 18252 | 996.01 | 145.63 | APLs Plastic corn data.xlsx | 77.5303 | 11.336 | 82.2347 | -4.7045 | -5.72 | — Monitor | 1.0607
APLPRSA01AL19 | USA | PRSA APL1 | MTX–170–36 | Basler acA1300-60gc | 0.332 | 17935 | 827.08 | 120.94 | APLs Plastic corn data.xlsx | 91.1644 | 13.3308 | 82.2347 | 8.9296 | 10.86 | ⚠ Review | 0.90205
APLPRSA02AL23 | USA | PRSA APL2 | MX3–170–36 | JAI GOX-2402C-PGE | 0.279 | 17269 | 978.01 | 119.33 | APLs Plastic corn data.xlsx | 76.1296 | 9.2884 | 82.2347 | -6.1052 | -7.42 | — Monitor | 1.0802
APLUSSL01AL17 | USA | USSL APL1 | MTX–170–36 | Basler acA1300-60gc | 0.332 | 34953 | 812.14 | 108.36 | APLs + AP01 South 9.2025 + APLUSSL01AL17.csv (combined) | 89.5177 | 11.9434 | 82.2347 | 7.2829 | 8.86 | ⚠ Review | 0.91864
APLUSSL02AL19 | USA | USSL APL2 | MTX–170–36 | Basler acA1300-60gc | 0.332 | 26393 | 793.5 | 87.79 | APLs Plastic corn data.xlsx | 87.4626 | 9.6771 | 82.2347 | 5.2279 | 6.36 | — Monitor | 0.94023
Elk Farm | USA | Elk Farm SPR | MTX–170–36 | Basler acA1300-60gc | 0.332 | 5995 | 685.03 | 142.88 | Elk farm fall 2025.csv | 75.5066 | 15.7484 | 82.2347 | -6.7281 | -8.18 | ⚠ Review | 1.0891

## Kernel Reference
Physical Plastic Kernel Measurements (Caliper)
Kernel | Length (mm) | Width (mm) | Height (mm) | Ellipse Area (mm²)
1 | 11.2 | 9.43 | 5.87 | 82.9506
2 | 10.88 | 9.76 | 5.72 | 83.4005
3 | 10.7 | 9.4 | 5.88 | 78.9953
4 | 10.92 | 9.63 | 5.81 | 82.5922
5 | 10.71 | 9.77 | 5.82 | 82.1815
6 | 10.81 | 9.81 | 5.68 | 83.2884
Mean | 10.87 | 9.6333 | 5.7967 | 82.2347

## Methodology
VMEK Plastic Kernel Standardization — Methodology
Physical Reference
• 6 plastic corn kernels individually measured with calipers (Length, Width, Height)
• Per-kernel ellipse area: π/4 × Length × Width
• Reference = mean of 6 per-kernel ellipse areas = 82.2347 mm²
Machine Data
• All rows used — no filtering on Status, Ejected, or MatID
• Status / Ejected reflect local recipe decisions, not kernel measurement quality
• MatID labels are placeholder identifiers used during plastic kernel runs, not biologically meaningful
• APLUSSL01AL17 combines 3 separate plastic kernel run files (N=34,953) for largest sample size
• Elk Farm source file exports Area directly in mm²; raw pixel columns are px²-equivalent back-calculated as Area_mm² / (0.332²) to preserve table comparability.
Correction Factor
• Mean_Area_mm² = Mean_Area_px² × (px→mm factor)²
• Correction Factor = Ref_Area_mm² / Mean_Area_mm²
• Applied: Area_corrected_mm² = raw_px² × (px→mm)² × Correction Factor
• Single multiplicative scalar — valid when bias is consistent across the kernel size range
Camera px→mm Factors (machine spec)
• MTX–170–36 + Basler acA1300-60gc → 1 px = 0.332 mm
• MX3–170–36 + JAI GOX-2402C-PGE → 1 px = 0.279 mm
Bias Flag Thresholds
• ✓ Good : ¦Δ%¦ ≤ 3% — minor adjustment, correction reliable
• — Monitor : ¦Δ%¦ 3–8% — moderate bias, recommend re-run to confirm
• ⚠ Review : ¦Δ%¦ > 8% — large bias, investigate camera calibration or sort mode
Application Lookup Rule
• Site / APL is the application machine lookup key; Quality Lab entries are disambiguated as Quality Lab283 and Quality Lab241.